## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
23 Bay Court
Ushaw moor
Durham
DH7 7RU
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-12493
DATE OF REPORT: 13/11/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-12493
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 23 Bay Court
Ushaw moor
Durham
DH7 7RU
Carried Out On | 13/11/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
Leak from the boiler

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-12493
SECTION 3: Report
Very slight leak from inside boiler. Only place I can see that is wet is from auto air valve. Tightened up plate fixings and checked diverter. New auto air valve required. If this doesn't fix issue new pump housing would be required. Boiler is an alpha CD 28C. GC NO 47 532 33.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-12493
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12493
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12493
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12493
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12493
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes