## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
21 Aged Miners Homes
Blackhall
Hartlepool
TS27 4HG
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-12494
DATE OF REPORT: 13/11/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-12494
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 21 Aged Miners Homes
Blackhall
Hartlepool
TS27 4HG
Carried Out On | 13/11/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
No Heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-12494
SECTION 3: Report
Low pressure on boiler. Checked prv and expansion no problems. Checked radiators no signs of leaks. Topped up pressure and boiler fired

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-12494
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12494
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12494
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12494
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12494
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes