## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
28 St James Court
Consett
Durham
DH8 5YJ
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-12497
DATE OF REPORT: 14/11/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-12497
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 28 St James Court
Consett
Durham
DH8 5YJ
Carried Out On | 14/11/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
Intermittent Heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-12497
SECTION 3: Report
No problem with heating, tenant saying that it isn't firing back up instantly and keeping the rads hot this is because the room temp was high in the property and the stat is set at 20 so was taking a while for room temp to drop down to 20 degrees before the heating fired back up causing the radiators to be cold. I've set the room stat at 23 degrees as agreed by the tenant so the room temp won't have to drop as far before the boiler fires back up.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-12497
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12497
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12497
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12497
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12497
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes