## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Shelley Court
Chester le street
Durham
Dh2 2QD
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-12498
DATE OF REPORT: 15/11/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-12498
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Shelley Court
Chester le street
Durham
Dh2 2QD
Carried Out On | 14/11/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
No Heating communal

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-12498
SECTION 3: Report
Heavy leak coming from HWS pump on arrival and leak from primary pump after boilers. When system started running again and heated up leak stopped but HWS pumps have stopped running and boiler 1 keeps going to an E16 fault. All switches turned to on rather than auto to get boilers running. I've sent pictures to admin as not letting me attach on job.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-12498
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12498
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12498
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12498
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12498
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes