## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
108A Newgate Street
Bishop Auckland
DL14 7EQ
CARRIED OUT ON BEHALF OF
Pine Investments Limited
REPORT NUMBER: 21-12714
DATE OF REPORT: 25/11/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-12714
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Pine Investments Limited
Address | City Estates
141A Stamford Hill
London
N16 5LG
Site Address | 108A Newgate Street
Bishop Auckland
DL14 7EQ
Carried Out On | 17/11/2021
Survey Completed By | Graham Parker
SECTION 2: Introduction
Potential Gas leak

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-12714
SECTION 3: Report
Carried out a tightness test and traced a leak to the anaconda so capped off service and inlet side of meter and contacted ngn whom carried out a room sweep for gas and left capped as is the responsibility of the gas suppler to repair or replace leaking part

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-12714
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12714
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12714
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12714
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12714
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes