## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Communal Area
Castle Court Flats (1-41)
Annfield Plain
DH9 7SA
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-12750
DATE OF REPORT: 18/11/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-12750
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Communal Area
Castle Court Flats (1-41)
Annfield Plain
DH9 7SA
Carried Out On | 18/11/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
Heating Repairs to External Contractors No radiators working in communal area elderly residents

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-12750
SECTION 3: Report
E4 fault in both boilers on arrival. When reset boiler 2 fired and stayed on but boiler 3 kept bringing up a b112 blocking code which meant the boiler temp was rising to quickly. After resetting 3 times the boiler stayed running. The pressurisation unit was making alot of noise when trying to repressurise so I topped it up manually which stopped the noise.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-12750
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12750
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12750
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12750
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12750
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes