## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Communal Area - Langley House
Langley Close
Redcar
TS10 4JF
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-12946
DATE OF REPORT: 26/11/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-12946
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Communal Area - Langley House
Langley Close
Redcar
TS10 4JF
Carried Out On | 26/11/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
Heating not working properly in flat 14

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-12946
SECTION 3: Report
2 of the 3 boilers not firing in plate room. Needs investigating by commercial engineer. Not just flat 14 that is having issues it's all the flats. Used thermal camera in a flat and rads wee getting to 40°c and water to 35°c.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-12946
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12946
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12946
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12946
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12946
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes