## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1 - 16 Trinity Court
Roman Way
corbridge
NE45 5JN
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-12988
DATE OF REPORT: 04/02/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-12988
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 1 - 16 Trinity Court
Roman Way
corbridge
NE45 5JN
Carried Out On | 13/12/2021, 03/02/2022
Survey Completed By | James Shanley
SECTION 2: Introduction
Following the repair on Friday the underfloor heating is working everywhere but the bathroom

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-12988
SECTION 3: Report
Require a bathroom danfoss sensor. Ordered Replaced humidity sensor in bathroom, re-done the wiring to thermostat as this was incorrectly wired on the control unit, informed David hunter who was going to follow up to see if the problem was resolved. If the problem is still present then a new solenoid and control unit will be required…

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-12988
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12988
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12988
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12988
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12988
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes