## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Whinstone Lodge
Front Street
Whitley Bay
NE25 8DJ
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-12996
DATE OF REPORT: 15/03/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-12996
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | Whinstone Lodge
Front Street
Whitley Bay
NE25 8DJ
Carried Out On | 01/03/2022
Survey Completed By | Graham Parker
SECTION 2: Introduction
6 Month Mechanical Check

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-12996
SECTION 3: Report
Carried out a 6 monthly ppm check to above site 2 x Hamworthy Fleet f85v boilers = blr 1 leak on flexi requires re gasket blr 2 ok 2 x lochinvar SHW 45-325 water heaters HTR 1 = Leak on condensate trap HTR 2 =ok 2 x CW expansion vessels = ok charged to 3 bar 1 x ASHP expansion vessel = ok charged to 2.7 bar 1 x C/H expansion vessel = ok charged to 2.7 bar 2 x chessil pressurisation units = ok Lagging good 2 x ASHP both have issues Old leaks evident on pipe work 1 x gas interlock = good and operational Gauges = all ok Main flue good but old condensate leaks visible on the H/W HTR Flues on 2 fittings 2 x ASHP sec pumps Grundfos magna3 32-40 = Pump 1 faulty Pump 2 0.1 amps 2 x ASHP primary pumps Grundfos magna3 40-80 = Pump 1 = ok 0.8 amps Pump 2 = sensor fault 0.9 amps 2 x LTHW Zone 1 pumps Grundfos/ no data plate = Pump 1 = ok 0.2 amps Pump 2 = sensor fault 1.7 amps 1 x secondary H/W return Pump Grundfos magna3 25-60 =ok 0.7 amps

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-12996
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12996
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12996
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12996
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-12996
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes