## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
25 Holly Crescent
Sacriston
Durham
DH7 6PW
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-13025
DATE OF REPORT: 29/11/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-13025
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 25 Holly Crescent
Sacriston
Durham
DH7 6PW
Carried Out On | 29/11/2021
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Boiler survey

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-13025
SECTION 3: Report
Boiler in is a Worcester 30si Horizontal flue 22mm gas visible Condensate terminates outside Magna clean pro 2 required Scale reducer required New stat required Boiler is currently off

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-13025
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13025
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13025
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13025
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13025
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes