## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Brownsea Place
Millway 1
Sheriff Hill
NE9 5PZ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-13059
DATE OF REPORT: 02/12/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-13059
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Brownsea Place
Millway 1
Sheriff Hill
NE9 5PZ
Carried Out On | 02/12/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
Standard Callout for Commerical Boilers ---- ---- 2 flats same problem - Rads off in Kitchen and Bathroom

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-13059
SECTION 3: Report
Flat 10, kitchen trv stuck down, freed up and working fine. Bathroom trv pin stuck down but when pushed down not coming back up of own accord. Needs new trv to fix issue. I have manually lifted pin so tenant currently had heat in bathroom. Flat 7 , trv in bathroom stuck down, freed up working fine. Kitchen trv pin stuck down but when pushed down not coming back up of own accord. Needs new trv to fix issue. I have manually lifted pin so tenant currently had heat in kitchen. Communal area rad not heating up. New trv needed. Not allowing me to attach pictures of trvs so sent to admin.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-13059
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13059
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13059
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13059
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13059
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes