## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
4 Chirton House
Headlam Green
Newcastle upon Tyne
NE6 2TW
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-13074
DATE OF REPORT: 01/12/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-13074
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 4 Chirton House
Headlam Green
Newcastle upon Tyne
NE6 2TW
Carried Out On | 01/12/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
Hot water tank making loud noise and cuts itself off

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-13074
SECTION 3: Report
Tenant says there was a noise when running thr unit on a morning then throughout the day at intervals. Found MIs online and troubleshooting states that a noise can be caused by the pump flow being to high so reduced the pump flow to medium flow. Also Tenant had timings set and that was the time when the noise was being made, I have took the timings off and set the thermostat at 27°c as requested by Tenant and advised to monitor see if it stops the noise.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-13074
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13074
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13074
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13074
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13074
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes