## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Rothley Grange
NE30 3AU
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-13091
DATE OF REPORT: 02/12/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-13091
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | Rothley Grange
NE30 3AU
Carried Out On | 01/12/2021, 02/12/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
Communal heating faulty - upstairs longe, corridor and office

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-13091
SECTION 3: Report
Traced back to manifold which had been switched off at the spur so none of the pins were lifting to allow heating to circulate. Switched on and tested. All pins lifted and heating started to circulate. Thermostat in the upstairs communal area needs replacing. Not urgent as still has heating in room just cannot be turned off.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-13091
SECTION 4: Photos
Room / Area
Upstairs communal area
Description
Notes
Thermostat that needs replacing.
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13091
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13091
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13091
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13091
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes