## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Communal Area - Haven House
Flat 18
Leadgate
DH8 7PS
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-13140
DATE OF REPORT: 02/12/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-13140
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Communal Area - Haven House
Flat 18
Leadgate
DH8 7PS
Carried Out On | 02/12/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
Flat 18 reporting no heating or hot water - reported by carers and sister

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-13140
SECTION 3: Report
Tested hot water on arrival and was working as it should. Domestic boiler on site vaillant ecotec Pro 28. Heating wasn't running on arrival as thermostat set to 20 degrees and hadn't dropped below temp so turned stat down slightly and heating fired as it should. Set thermostat to 22°C no boiler fired checked rads and all warming up.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-13140
SECTION 4: Photos
Room / Area
Kitchen
Description
Notes
Boiler fired
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13140
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13140
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13140
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13140
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes