## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
35 Sevenacres
Great Lumley
Chester-le-Street
DH3 4JS
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-13170
DATE OF REPORT: 21/04/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-13170
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 35 Sevenacres
Great Lumley
Chester-le-Street
DH3 4JS
Carried Out On | 06/04/2022, 20/04/2022
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Fit additional rad to large bedroom under window 21 x 45 SC

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-13170
SECTION 3: Report
Tony to return to sure for finishing works To ply cupboard Putvskirting board back on that had to be removed Possibly patch just above skirting where lose plaster come off

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-13170
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13170
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13170
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13170
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13170
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes