## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
35 Sevenacres
Great Lumley
Chester-le-Street
DH3 4JS
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-13171
DATE OF REPORT: 04/04/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-13171
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 35 Sevenacres
Great Lumley
Chester-le-Street
DH3 4JS
Carried Out On | 03/12/2021
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Survey to fit additional rad to large bedroom under window 21 x 45 SC

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-13171
SECTION 3: Report
10mm copper. Flow and return should run just past the new rad position so minimal pipe work required. Minimal furniture in bedroom to be moved. Carpet floors.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-13171
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13171
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13171
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13171
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13171
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes