## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
19 Athlone Court
Blyth
Northumberland
NE24 1EW
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-13216
DATE OF REPORT: 09/12/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-13216
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 19 Athlone Court
Blyth
Northumberland
NE24 1EW
Carried Out On | 09/12/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
No Hot Water

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-13216
SECTION 3: Report
No access to 19 athlone crt. Communal radiators ok, hot water in toilets ok. Checked 3 different apartments and all have heating and hot water. Plantroom checked and ok. Onsite til 21.15. PR Pumps not set to a high enough speed that heat was circulating around cylinders so hot water was only luke warm, turned up pump speed so it was circulating quicker and hot water temperature increased. KH 9/12/21

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-13216
SECTION 4: Photos
Room / Area
Communal toilet
Description
Notes
Hot water temperature after fix was just made.
Room / Area
Communal toilet
Description
Notes
Hot water temperature 5 minutes after fix was made. Temperature inrease of 4°C
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13216
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13216
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13216
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13216
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes