## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
41 The Elms
Chester Le Street
County Durham
DH2 3EJ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-13233
DATE OF REPORT: 06/12/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-13233
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 41 The Elms
Chester Le Street
County Durham
DH2 3EJ
Carried Out On | 06/12/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
Flat 41 has fault with underfloor heating programming centre. No power to unit, replaced fuse but no power upstream of spur. Could not locate consumer unit. warden stated there was similar issues in other flats after the powercuts. Boiler 3 in the plant room was displaying a service alert cleared alert but wouldn't fire up afterwards (didn't display a fault)

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-13233
SECTION 3: Report
No power going to wiring centre due to faulty fuse spur, changed spur and then was getting 240v at wiring centre but the 1A quick blow fuse had also blew. Once changed I got power to unit but as soon as demand was placed the quick now fuse blew. Further investigation needed from electrician.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-13233
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13233
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13233
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13233
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13233
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes