## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
36 The Elms
Chester Le Street
County Durham
DH2 3EJ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-13237
DATE OF REPORT: 17/12/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-13237
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 36 The Elms
Chester Le Street
County Durham
DH2 3EJ
Carried Out On | 17/12/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
No heating and no hot water

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-13237
SECTION 3: Report
Actuators for spare bedroom and bathroom are not working. Bathroom has screw cap on turning off the UFH circuit so loosened off so Hall and bathroom will heat up. Spare bedroom actuator not working at all but room not in use. 2 actuators needed attached pictures and sent to DH to source. KH 6/12/2021 Changed actuator on bathroom circuit as not working. Constant demand for Hest from bathroom thermostat, stat was wired in wrong so corrected. Removed humidity wtat from bathroom circuit as faulty. New stat needed for spare bedroom as not receiving receiving demand when turning stat on. Replaced x6 washers on hiu as showing signs of leaks. Checked all outlets and all getting hot water. KH 17/12/2021

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-13237
SECTION 4: Photos
Room / Area
Bathroom
Description
Notes
Basin sink 42.4c
Room / Area
Bathroom
Description
Notes
Shower temp 42.3c
Room / Area
Kitchen
Description
Notes
Kitchen tap 48.6c
ZENITH MECHANICAL SERVICES
Report Number | 21-13237
SECTION 4: Photos
Room / Area
Spare bedroom
Description
Notes
New stat required as faulty.
Room / Area
Spare bedroom
Description
Notes
New stat required as faulty
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13237
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13237
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13237
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes