## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
The Elms
Chester-Le-Street
Co Duham
DH2 3EJ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-13240
DATE OF REPORT: 06/12/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-13240
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | The Elms
Chester-Le-Street
Co Duham
DH2 3EJ
Carried Out On | 06/12/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
Heating not working on some of the floors boiler 3 is showing an error. No COVID

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-13240
SECTION 3: Report
No power at manifold, changed fuse and solved power issue at manifold. No CH circulating around 3 OF THE UFH circuits so removed actuator heads and it started circulating. 3 cartridges and 3 actuators required for 3rd floor corridor manifold. KH 6/12/21

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-13240
SECTION 4: Photos
Room / Area
Hallway cupboard
Description
Notes
Required actuator head
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13240
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13240
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13240
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13240
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes