## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Communal Area Unity Hall
71 Mill Dam
south Shields
NE33 1EQ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-13271
DATE OF REPORT: 08/12/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-13271
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Communal Area Unity Hall
71 Mill Dam
south Shields
NE33 1EQ
Carried Out On | 08/12/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
Flat 10 reports all the hallway radiators are not working through out block top floor midde floor & ground floor they havent worked all year ! initially reported in march 2021

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-13271
SECTION 3: Report
Communal radiators not heating up, all floors apart from top floor were either turned off at lockshield or TRV. Opened all valves. Top floor valves were open but rads needed bleeding as full of air that's why they weren't heating up. I then walked round with thermal camera to check that all the radiators were heating up and they were.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-13271
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13271
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13271
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13271
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13271
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes