## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
10 Chapelville
Front Street
Newcastle upon tyne
NE13 6EH
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-13306
DATE OF REPORT: 13/12/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-13306
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | 10 Chapelville
Front Street
Newcastle upon tyne
NE13 6EH
Carried Out On | 08/12/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
No heating in bedroom. If resident not in flat, will be in communal lounge

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-13306
SECTION 3: Report
Replaced x3 UFH cartridges as leaking. Checked circulation of heating after changed and no problems.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-13306
SECTION 4: Photos
Room / Area
Hallway cupboard
Description
Notes
UFH manifold all circuits circulating.
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13306
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13306
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13306
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13306
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes