## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
The Elms
Chester-Le-Street
County Durham
DH2 3EJ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-13340
DATE OF REPORT: 09/12/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-13340
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | The Elms
Chester-Le-Street
County Durham
DH2 3EJ
Carried Out On | 09/12/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
No heating/cafe and lounge

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-13340
SECTION 3: Report
The manifold for the downstairs circuit was only allowing 2 of the circuits to open out of 7, I adjusted the thermostats but still none of the actuators were moving. I removed actuators from the cartridge to allow heat to circulator. On the second manifold on the ground floor there was no power going to the pump or any of the actuators and all actuator were in the off position, even if I removed the actuators because the pump is not running there still would not be any heat circulating. This needs further investigation.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-13340
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13340
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13340
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13340
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13340
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes