## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
21 Lynwood House
Durham Road
Lanchester
DH7 0LS
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-13360
DATE OF REPORT: 16/12/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-13360
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 21 Lynwood House
Durham Road
Lanchester
DH7 0LS
Carried Out On | 15/12/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
Issue with heating controller. Resident has set the heating onto auto timer but the room thermastats are always on. Zenith to attend.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-13360
SECTION 3: Report
There was a link on the timer linking out the timer function so even when the heating was due to come on it had to be manually switched on. Removed link and tested, all circuits and timer working as they should be.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-13360
SECTION 4: Photos
Room / Area
Living room
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13360
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13360
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13360
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13360
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes