## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
7 St Andrews Crescent
Consett
County Durham
DH8 8NU
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-13363
DATE OF REPORT: 10/12/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-13363
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 7 St Andrews Crescent
Consett
County Durham
DH8 8NU
Carried Out On | 10/12/2021
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Survey

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-13363
SECTION 3: Report
Boiler to be removed - Vaillant eco tec pro 28 Boiler location - bedroom Flue type - horizontal Flue guard needed - no Stand off kit required - no Gas meter - external Condensate pump required - no Updated controls required - yes Filter needed - magna clean pro 2 Number of bedrooms- 2 Number of bathrooms - 1 Electric shower - no Any other means of heating - no heating is on but cold water is not working. ring tenants daughter to let them know what day we are going her number is- 07310661712

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-13363
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13363
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13363
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13363
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13363
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes