## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
8 Shotleyfield View
Consett
County Durham
DH8 5AN
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-13405
DATE OF REPORT: 21/12/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-13405
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 8 Shotleyfield View
Consett
County Durham
DH8 5AN
Carried Out On | 21/12/2021
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Slow drip from boiler in boiler cupboard. Heating & hot water are working. iss sh

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-13405
SECTION 3: Report
Drip coming swim condensate trap that had previously not been screwed back up properly. Got all of the water out from under the boiler, then managed to empty the trap half way before tightening it back up properly. Left hot water on for approx 15 mins to put boiler under worst conditions for condensate, trap no longer leaking.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-13405
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13405
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13405
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13405
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13405
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes