## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
3 The Elms
Chester le Street
County Durham
DH2 3DQ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-13457
DATE OF REPORT: 15/12/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-13457
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 3 The Elms
Chester le Street
County Durham
DH2 3DQ
Carried Out On | 14/12/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
Shower faulty

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-13457
SECTION 3: Report
Re washers unit. Replaced blending valve set in as non return valve was passing. Cleaned plate heat exchanger. Adjusted temp differential as set to max. Changed bar shower. KH 14/12/2021

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-13457
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13457
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13457
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13457
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13457
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes