## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
5 Axford Terrace
Hamsterley Colliery
Newcastle Upon Tyne
NE17 7PB
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-13498
DATE OF REPORT: 20/12/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-13498
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 5 Axford Terrace
Hamsterley Colliery
Newcastle Upon Tyne
NE17 7PB
Carried Out On | 20/12/2021
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Water only heating up when heating is on

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-13498
SECTION 3: Report
Found 3 port valve in the loft was broken, having absolutely no resistance when moving the switch on the side. RB has ordered the valve into wolsley consett with job number as reference.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-13498
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13498
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13498
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13498
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13498
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes