## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Pembroke Court
Hylton Lane
Downhill
SR5 4DF
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 21-13561
DATE OF REPORT: 22/02/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-13561
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | Pembroke Court
Hylton Lane
Downhill
SR5 4DF
Carried Out On | 21/02/2022
Survey Completed By | Graham Parker
SECTION 2: Introduction
6 Month Mechanical Check

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-13561
SECTION 3: Report
Attend to carry out a 6 monthly mechanical check 2 x remeha gas 210 eco boilers. Operational and no issues 1 x fluid automation pressurisation unit operational check no issues 2 x expansion vessels 1 x lowara no issues and 1 x zilmet cold water no issues and all operational 1 x bianco gas solonoid valve operational and tested with no issues 2 x Siemens actuator valves operational with no issues 2 x Grundfos tpd 80-120 shunt pumps operational 1 x wilo yonos maxo 50/05 operational 1 x DHWS PRIMARY PUMP Grundfos 32-80 operational 1 x Grundfos up 20-45 de strat pump operational 1 x Grundfos secondary return pump operational

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-13561
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13561
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13561
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13561
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13561
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes