## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Feetham Court
Forest Hall
Newcastle
NE12 9QJ
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-13573
DATE OF REPORT: 03/02/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-13573
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | Feetham Court
Forest Hall
Newcastle
NE12 9QJ
Carried Out On | 02/02/2022
Survey Completed By | Graham Parker
SECTION 2: Introduction
Accepted Quotation to replace faulty gas valve on heating boiler within plant room

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-13573
SECTION 3: Report
Fitted new gas valve to remeha Quinta 115 boiler and recommissioned Hi Ratio 0.0002 Co 21 ppm Co2 9.09 % Lo Ratio 0.0001 Co 9 ppm Co2 9.3 %

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-13573
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13573
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13573
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13573
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13573
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes