## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1 The Elms
Chester le Street
County Durham
DH2 3DQ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-13587
DATE OF REPORT: 17/12/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-13587
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 1 The Elms
Chester le Street
County Durham
DH2 3DQ
Carried Out On | 17/12/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
Repairs following HIU CLEAN

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-13587
SECTION 3: Report
Replaced x3 washers on unit that showed signs of prev leak. Tested hot water at all outlets and all heating up as they should. Shower working fine.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-13587
SECTION 4: Photos
Room / Area
Bathroom
Description
Notes
Basin tap 43.1c
Room / Area
Bathroom
Description
Notes
Shower temp 44.3c
Room / Area
Kitchen
Description
Notes
Kitchen tap 45.3c
ZENITH MECHANICAL SERVICES
Report Number | 21-13587
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13587
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13587
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13587
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes