## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
2 Pavillion Court
Esh Winning
DH7 9HA
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-13692
DATE OF REPORT: 19/12/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-13692
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 2 Pavillion Court
Esh Winning
DH7 9HA
Carried Out On | 19/12/2021
Survey Completed By | Rhys Brown
SECTION 2: Introduction
FOW from electrician visit on 18/12/2021 - Boiler cuttung out after all electircs have been checked (JS report in notes for ref)

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-13692
SECTION 3: Report
Upon inspection and conversation with DH suspected fan or pump fault causing the issue. Fan heaters left with tenant, to be contacted tomorrow regarding next steps.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-13692
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13692
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13692
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13692
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13692
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes