## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
22 Phoenix Rise
Ambassadors Way
North Shields
NE29 8SQ
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-13703
DATE OF REPORT: 23/12/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-13703
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | 22 Phoenix Rise
Ambassadors Way
North Shields
NE29 8SQ
Carried Out On | 20/12/2021
Survey Completed By | Graham Parker
SECTION 2: Introduction
Flat is too hot

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-13703
SECTION 3: Report
Found the tenant had 2 faulty room thermostats 1 in the lounge 1 in the bathroom also all 4 cartridges were leaking and had leaked up in to the actuators so replaced all these too Materials used from van stock 2x Drayton RTS1 room thermostats 4x Giacomini cartridges 4x Giacomini actuators All tested fine and heating operating correctly now

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-13703
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13703
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13703
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13703
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13703
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes