## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
4 Fife Avenue
Chester-Le-Street
County Durham
DH2 2AP
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-13734
DATE OF REPORT: 21/12/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-13734
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 4 Fife Avenue
Chester-Le-Street
County Durham
DH2 2AP
Carried Out On | 21/12/2021
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Boiler replacement required as per Andrew Sutherland Boiler is still currently operational so has heating and hot water

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-13734
SECTION 3: Report
Boiler to be removed - baxi duo tec combi 28 Boiler location - kitchen cupboard Flue type - horizontal Flue guard needed - no Stand off kit required - no Gas meter - external Condensate pump required - no Updated controls required - yes Filter needed - magna clean mini Number of bedrooms- 3 Number of bathrooms - 1 Electric shower - yes Any other means of heating - no

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-13734
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13734
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13734
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13734
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13734
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes