## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Towneley court
Stanley
County Durham
DH9 7NL
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-13746
DATE OF REPORT: 23/12/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-13746
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Towneley court
Stanley
County Durham
DH9 7NL
Carried Out On | 23/12/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
Email from Zenith - We have been requested to check the radiators in a number of flats within Towneley Court to eliminate issues arising over the Christmas period.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-13746
SECTION 3: Report
Handful of flats need new trv heads (flat 7, 9, 26, 28). Attended flat 2 working fine once trv was turned to open potisition. Flat 3 working fine no problems once trv head was opened fully. Flat 7 needs new trv head for living room as not opening fully. Tenant said the temp is comfortable in flat so didn't want trv taking off to allow heat to circulate. Flat 9 needs new trv head for living room as not opening fully. Tenant wanted head to be removed so Heat could circulate, had Paula in flat when this was confirmed by Tenant that this is what she wanted as she will not be able to turn radiator off. Flat 12 working fine once the trv was opened. Flat 23 working fine once the trv was opened fully. Flat 26 lockshield in bedroom closed but signs of prev leak so didn't disturb to potentially create new leak. Living room rad needs new rrv head. Flat 28 needs new trv head for living room rad, Tenant doesn't want trv taking off as says temp is OK in flat at the moment. Flat 30 working fine once trv was opened fully. These are the flats that have mentioned issues with rads to Paula.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-13746
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13746
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13746
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13746
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13746
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes