## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
34 Athlone Court
Blyth
Northumberland
NE24 1EW
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-13747
DATE OF REPORT: 22/12/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-13747
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 34 Athlone Court
Blyth
Northumberland
NE24 1EW
Carried Out On | 22/12/2021
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Advised by operative who attended that when bleeding rads that it was filling up with straight away. Communal heating tenant was advised to bleed the rads herself tenant is vulnerable some rads are heating up barely for 30 mins then all going off whole system is banging loudly -- Tenant will be in property until Plumber attends

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-13747
SECTION 3: Report
Issues with air in the system due to pipe up error, pumps turned off and system vented then turned back on. System up to temperature when leaving site. When venting upstairs flats noticed that flat 34 needs a replacement TRV in the bathroom as pin is stuck.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-13747
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13747
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13747
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13747
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13747
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes