## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
159 Winskell Road
South Shields
Tyne and Wear
NE34 9RY
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-13885
DATE OF REPORT: 19/01/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-13885
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 159 Winskell Road
South Shields
Tyne and Wear
NE34 9RY
Carried Out On | 19/01/2022
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Survey for boiler install

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-13885
SECTION 3: Report
Boiler to be removed - potterton gold 28 he Boiler location - kitchen Flue type - vertical 1 extension 1 45 Flue guard needed - no Stand off kit required - no Gas meter - external Condensate pump required - no, internal Updated controls required - yes Filter needed - magna clean pro 3 Number of bedrooms- 2 Number of bathrooms - 1 Electric shower - no Any other means of heating -no

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-13885
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13885
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13885
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13885
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13885
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes