## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
11 Aged Miners Homes
Flemington Field
Shotton Coliery
DH6 2JG
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-13964
DATE OF REPORT: 27/12/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-13964
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 11 Aged Miners Homes
Flemington Field
Shotton Coliery
DH6 2JG
Carried Out On | 26/12/2021, 27/12/2021
Survey Completed By | Michael Stephenson
SECTION 2: Introduction
No heating and hot water

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-13964
SECTION 3: Report
Reset boiler fired up on 3rd attempt & stayed on. Possible electrode issue. Stayed with boiler 20 mins & was heating bungalow up. 27.12.21 Re attended property left heater, re lit boiler and left working. Boiler also had pre ignition on

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-13964
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13964
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13964
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13964
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13964
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes