## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
12 William Keers Crescent
Ferryhill
DL17 8RJ
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-13980
DATE OF REPORT: 28/12/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-13980
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 12 William Keers Crescent
Ferryhill
DL17 8RJ
Carried Out On | 28/12/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
No hot water at the taps

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-13980
SECTION 3: Report
Diverter valve on boiler has had slight leak causing the actuator to become faulty and not switch over to hot water when demand is placed. New diverter valve needed and new Actuator head needed. GC number is 47 393 48.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-13980
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13980
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13980
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13980
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13980
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes