## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
8 Coronation Homes
Esh Winning
DH7 9PP
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-13983
DATE OF REPORT: 28/12/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-13983
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 8 Coronation Homes
Esh Winning
DH7 9PP
Carried Out On | 28/12/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
No heating or hot water - tenant can't get pilot light on

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-13983
SECTION 3: Report
3 solid lights signify LV Wiring Harness Ensure 8- way PCB connector securely pushed in. If fault persists replace LV wiring harness. Removed pcb cover and a number of the electrical connections were pushed into the seating properly. Pushed into place and tested, boiler fired every time.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-13983
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13983
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13983
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13983
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13983
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes