## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
2 Spring View
Bristol Drive
Wallsend
NE28
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-13985
DATE OF REPORT: 11/01/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-13985
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Unit 1 Hunslet Trading Estate
Servern Way
Hunslet
Leeds
LS10 1BL
Site Address | 2 Spring View
Bristol Drive
Wallsend
NE28
Carried Out On | 28/12/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
No heating or hot water

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-13985
SECTION 3: Report
Issue with circulation to certain section of building. Pulled some water through from manifold and started to get hot. Valves in plant room were closed down to far potentially stopping circulation so opened up slightly. Boiler 2 is off, ashp secondary pump showing issue with sensor and 3 port potentially faulty. Fow required as tenants have said its an on going issue. The flats which have reported problems I have checked with thermal camera and all showing that the ufh circuits are heating up.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-13985
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13985
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13985
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13985
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13985
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes