## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Spring View
North Tyneside
NE28 9TH
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-13990
DATE OF REPORT: 07/01/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-13990
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | Spring View
North Tyneside
NE28 9TH
Carried Out On | 29/12/2021, 05/01/2022
Survey Completed By | Michael Stephenson
SECTION 2: Introduction
No heating at the back of the building

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-13990
SECTION 3: Report
Changed two underfloor cartridges in flat 4 which allowed heating between 32-34 degrees underfloor. Flat 13 has 1 electric heater and the warden has kept two in her office in case any of the tenants decided they wanted any additional heat before this issue is resolved fully. Returned to site on 05.01.2022 and fitted new y strainer to air source pipe work. Site left satisfactory.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-13990
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13990
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13990
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13990
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13990
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes