## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
10 Burn Close
West Rainton
DH4 6SY
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-13995
DATE OF REPORT: 29/12/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-13995
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 10 Burn Close
West Rainton
DH4 6SY
Carried Out On | 29/12/2021
Survey Completed By | Rhys Brown
SECTION 2: Introduction
No heating in property

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-13995
SECTION 3: Report
Attended site to find boiler was on E1 fault code (over heating) bled rads to make sure there wasn’t to much air in and bottoms also felt hot. Done a hot flush for 20 minutes to see if I could move any debris. After this boiler reached 76 degrees and then stabilised. With tenant being so elderly I’ve left a heater just incase this occurs again. I’ve let her know to check boiler for same fault code in the morning and let us know. On site for 1 hour 15 including travel (pressed start but hasn’t showed up on system)

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-13995
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13995
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13995
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13995
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13995
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes