## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Oakwood Court (Flats 1-30)
Stanley
DH9 8NE
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-13997
DATE OF REPORT: 29/12/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-13997
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Oakwood Court (Flats 1-30)
Stanley
DH9 8NE
Carried Out On | 29/12/2021
Survey Completed By | Rhys Brown
SECTION 2: Introduction
No heating or hot water in block 1 - 30

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-13997
SECTION 3: Report
when attending site found that there was no power at all to to plant room, Checked the fuses inside of panel, one of which had tripped. Went down to the fuse board room where I found that the fire alarm fuse had tripped when turning back in the fire panel at the front door was showing a fault but a contractor has to go to do it. JH has spoke to the contractor and they are going to raise a job to fix the fault. Then we should get power back to the plant room where boilers need reset.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-13997
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13997
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13997
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13997
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13997
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes