## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
11 Eshwood View
Usher Moor
Co Durham
DH7 7FD
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-13998
DATE OF REPORT: 30/12/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-13998
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 11 Eshwood View
Usher Moor
Co Durham
DH7 7FD
Carried Out On | 29/12/2021
Survey Completed By | Rhys Brown
SECTION 2: Introduction
No heating or hot water -f75 fault code

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-13998
SECTION 3: Report
Boiler, going into F75 after trying to fire, pressure jumping by about .3 bar. Took pressure switch out and cleaned. Boiler Still Doing the same after this, after speaking to JH suspected pump issue. Asked tenant if he needed heaters left but he said he was okay. Gc no. 47-044-71

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-13998
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13998
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13998
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13998
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-13998
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes