## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
28 Feetham Court
Forest Hall
NE12 9QJ
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-14015
DATE OF REPORT: 07/01/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-14015
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | 28 Feetham Court
Forest Hall
NE12 9QJ
Carried Out On | 31/12/2021
Survey Completed By | Phillip Rogerson
SECTION 2: Introduction
Leak in cupboard, very close to fuse box

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-14015
SECTION 3: Report
Water meter leaking in cupboard ceiling space. Water meter by passed with 300mm of 15mm copper and 2 x 15mm connector. Left satisfactory.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-14015
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-14015
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-14015
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-14015
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-14015
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes