## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Smulders Hadrian Yard
Hadrian Way
Wallsend
NE28 6HL
CARRIED OUT ON BEHALF OF
Smulders Hadrians Yard
REPORT NUMBER: 21-5965
DATE OF REPORT: 27/10/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-5965
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Smulders Hadrians Yard
Address | Hadrians Way
Newcastle Upon Tyne
NE28 6HL
Site Address | Smulders Hadrian Yard
Hadrian Way
Wallsend
NE28 6HL
Carried Out On | 04/01/2021
Survey Completed By | Craig Nicholson
SECTION 2: Introduction
FALSE

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-5965
SECTION 3: Report
Attended site to investigate boiler fault in main office building. When arriving on site I found that pressurisation unit switched off, when turning the unit back on Chris and both John had mentioned that before the Christmas break the pressure relief valve had been discharging, but since has been replaced. Also they informed me that the system required to be filled manually on a daily/ weekly basis, and have instructed me to submit a quote, for replacement. Quote to follow in email. Also noticed that the expansion vessel for the direct cylinder had failed, and a replacement is required, quote to follow in email. System currently operating, but requires FOW.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-5965
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-5965
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-5965
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-5965
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-5965
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes