## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
10 Oakwood Court
Stanley
County Durham
DH9 8NE
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-5996
DATE OF REPORT: 26/01/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-5996
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 10 Oakwood Court
Stanley
County Durham
DH9 8NE
Carried Out On | 06/01/2021
Survey Completed By | Craig Nicholson
SECTION 2: Introduction
Radiator in bedroom is constantly - on can't turn it down. Vulnerable tenant.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-5996
SECTION 3: Report
Attended site to investigate control over bedroom radiator. Found both lounge and bedroom radiators on wheel head lock shields, very stiff also for customer to use or control. Recommend fitting new valves to both radiators for customer comfort and ease of use. I’ve isolated bedroom radiator so that customer can sleep in a cooler environment. Materials required. 2x 1/2” trv packs (danfoss/ Belmont. Pipe freezing kit. Dust sheet. Ptfe/locktite. Wet vac.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-5996
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-5996
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-5996
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-5996
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-5996
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes