## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
22 Windsor
Windsor Grange
Howdon
NE28 0NP
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-5997
DATE OF REPORT: 12/01/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-5997
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | 22 Windsor
Windsor Grange
Howdon
NE28 0NP
Carried Out On | 12/01/2021 07/01/2021 06/01/2021
Survey Completed By | Craig Nicholson
SECTION 2: Introduction
No Heating in bedroom (underfloor heating).

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-5997
SECTION 3: Report
Attended site as customer informed of bedroom not heating up, also she had a visit from a another contractor, unsure if it was Morgan Sindall. Isolated and drained down manifolds, as lounge cartridge had just been replaced. Changed bedroom cartridge, as the number, and lack of identification on the manifold. Believe manifold identification in wrong order, unable able to identify due to the slow response to the UFH. Have requested a recall, when flat is cool on the 7/1/21 am, with a thermal heat camera to carry out correct zone identification, also replace hall way zone actuator. 7/1/21. Unable to carry thermal imaging test, due to faulty camera. Have been instructed to hire equipment from hire it. When on site, the tenant informed me that the problematic zone which had been the bedroom, had been very hot. I’ve instructed the customer to open/ use one zone at time to ensure that the zones are in the correct sequence. Further more I’ve asked the customer to call me lunch time 7/1/21, to give me a update on weather the remaining zones are in the correct order. Until I revive the phone call, I will hold off on ordering the thermal imaging camera. Customer has informed me that UFH sequence still not correct, I’ve instructed Hire company to source thermal imaging camera, awaiting response from hire company. 12/1/21 Attended site when flat had been cold as I instructed the customer. With a thermal imaging camera, i identified the correct zones, to the actuator heads and room thermostats respectively. When checking floor temps which had ranged from 21.5-27.8 degrees across all the floor space, I allowed customer to view the different floor temperatures, and was happy with the work carried out.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-5997
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-5997
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-5997
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-5997
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-5997
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes