## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
4 Towneley Court
Stanley
County Durham
DH9 7NL
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6000
DATE OF REPORT: 11/01/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6000
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 4 Towneley Court
Stanley
County Durham
DH9 7NL
Carried Out On | 11/01/2021 06/01/2021
Survey Completed By | Craig Nicholson
SECTION 2: Introduction
Living room radiator not heating up at all. KH had to give tenant small heater as room was so cold. Zenith attended on the 6th and changed the valve on the radiator. New job 08/01Tenant says when turned up fully it stays hot for about 30 minutes and then goes cold. she's struggling as its a big living room and when the radiator isnt on she is feeling the cold.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6000
SECTION 3: Report
LPC 6.1.21 Arrived on site and gained access to flat . Tested lounge radiator TRV and found that head has failed. Fitted new head as req , tested then monitored functions and performance. Tennent very happy with repair . Part used from van stock, replenished against job number from suppliers 1540 - 1605

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6000
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6000
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6000
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6000
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6000
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes